# NOTIFICATION

The following notification is being circulated in accordance with Article 10.6

| 1. | Notifying Member: BURUNDI, KENYA, RWANDA, TANZANIA, UGANDA If applicable, name of local government involved (Article 3.2 and 7.2): |
| --- | --- |
| 2. | Agency responsible: Rwanda Standards Board (RSB) KK 15 Rd, 49 P.O.BOX 7099, Kigali, Rwanda Tel: +250 788303492 Email: info@rsb.gov.rw Website: www.rsb.gov.rw Name and address (including telephone and fax numbers, email and website addresses, if available) of agency or authority designated to handle comments regarding the notification shall be indicated if different from above: |
| 3. | Notified under Article 2.9.2 [X], 2.10.1 [ ], 5.6.2 [ ], 5.7.1 [ ], 3.2 [ ], 7.2 [ ], other: |
| 4. | Products covered (HS or CCCN where applicable, otherwise national tariff heading. ICS numbers may be provided in addition, where applicable): Plugs, socket-outlets, couplers (ICS code(s): 29.120.30) |
| 5. | Title, number of pages and language(s) of the notified document: DEAS 495-3: 2024, Plugs, socket-outlets, adaptors and connection units — Part 3: Specification for adaptors; (78 page(s), in English) |
| 6. | Description of content: This part of Draft East African Standard specifies requirements for adaptors having insulating sleeves on the line and neutral plug pins and suitable for use with socket-outlets complying with EAS 495-2, with particular reference to safety in normal use. Adaptors specified in this part of EAS 495 are intended for household, commercial and light industrial purposes. The adaptors are suitable for the connection of portable appliances, sound-vision equipment, luminaires, etc., in a.c. circuits only, operating at voltages not exceeding 250 V r.m.s. at 50 Hz. Adaptors incorporating electronic components detailed in Annex A are included within this part of EAS 495. This standard also applies to shaver adaptors which have the earth pin replaced with a similarly dimensioned protrusion made of insulating material designated as an insulated shutter opening device (ISOD) designed to operate the shutter mechanism of a socket-outlet conforming to EAS 495-2. Adaptors conforming to this standard are shuttered and therefore do not require the use of additional means to shield the current carrying contacts when no plug is present in the adaptor socket-outlets. Assemblies comprising a plug and one or more portable socket-outlets connected together by a flexible cord or cable are not considered to be adaptors according to this part of EAS 495. Devices incorporating switches, transformers, timers, thermostats or other control means are outside the scope of this part of EAS 495. NOTE 1 The titles of the publications referred to in this standard are listed on the inside back cover. NOTE 2 In order to maintain safety and interchangeability with plugs and socket-outlets it is necessary that these products comply with the requirements of Clause 9, Clause 12 and Clause 13, however their body outline need not be limited at a distance of 6.35 mm from the plug engagement face. An adaptor is mechanical by nature of construction. The product is therefore immune from electromagnetic interference. An adaptor that does not incorporate electronic devices does not emit intolerable electromagnetic interference, since significant electromagnetic disturbances are only generated during insertion and withdrawal which are not continuous. This East African Standard does not cover: a) Direct plug-in devices b) Automatic electric controls c) Travel adaptors. This standard applies to all adaptors in East African Region |
| 7. | Objective and rationale, including the nature of urgent problems where applicable: National security requirements; Prevention of deceptive practices and consumer protection; Protection of human health or safety; Protection of the environment; Quality requirements; Harmonization; Cost saving and productivity enhancement |
| 8. | Relevant documents: - IEC 60112, Method for the determination of the proof and the comparative tracking indices of solid insulating materials - ISO 9453, Soft solder alloys ⎯ Chemical compositions and forms - EAS 495-1, 13 A plugs, socket-outlets, adaptors and connection units — Part 1: Specification for rewirable and non-rewirable 13 A fused plugs - EAS 495-2, 13 A plugs, socket-outlets, adaptors and connection units — Part 2: Specification for 13 A switched and unswitched socket-outlets - EAS 495-4, 13 A plugs, socket-outlets, adaptors and connection units — Part 4: Specification for 13 A fused connection units: switched and unswitched - IEC 60893-1, Insulating materials ⎯ Industrial rigid laminated sheets based on thermosetting resins for electrical purposes ⎯ Part 1: Definitions, designations and general requirements - IEC 60893-3-4, Insulating materials ⎯ Industrial rigid laminated sheets based on thermosetting resins for electrical purposes ⎯ Part 3-4: Specifications for individual materials ⎯ Requirements for rigid laminated sheets based on phenolic resins - BS EN 1654, Copper and copper alloys ⎯ Strip for springs and connectors - IEC 60999-1, Connecting devices ⎯ Electrical copper conductors ⎯ Safety requirements for screwtype and screwless-type clamping units ⎯ Part 1: General requirements and particular requirements for clamping units for conductors from 0.2 mm2 up to 35 mm2 (included) - EAS 203, Boxes for enclosure of electrical accessories — Specification - ISO 7724, Paints and varnishes ⎯ Colorimetry - ISO 8458-2, Steel wire for mechanical springs ⎯ Part 2: Patented cold-drawn non-alloy steel wire - IEC 60112:1980, Method of test for determining the comparative and the proof tracking indices of solid insulating rnaterials under moist conditions - IEC 60227-5, Polyvinyl chloride insulated cables of rated voltages up to and including 450/750 V ⎯ Part 5: Flexible cables (cords) - IEC 60245-4 Rubber insulated cables - Rated voltages up to and including 450/750 V - Part 4: Cords and flexible cables - IEC 60245-8:1998+AMD1:2003+AMD2:2011 Rubber insulated cables - Rated voltages up to and including 450/750 V - Part 8: Cords for applications requiring high flexibility IEC 60417, Graphical symbols for use on equipment - IEC 60695-1-1, Fire hazard testing ⎯ Part 1-1: Guidance for assessing the fire hazard of electrotechnical products ⎯ General guidelines - IEC 60695-4, Fire hazard testing ⎯ Part 4: Terminology concerning fire tests for electrotechnical products - IEC 60695-2-10, Fire Hazard testing ⎯ Part 2-10: Glowing/hot-wire based test methods ⎯ Glow-wire apparatus and common test procedure - EAS 370, Test probes to verify protection by enclosure - BS 546, Specification — Two-pole and earthing-pin plugs, socket-outlets and socket-outlet adaptors - BS 646, Specification — Cartridge fuse-links (rated up to 5 amperes) for a.c. and d.c. service - ISO 2039-1, Plastics ⎯ Determination of hardness ⎯ Part 1: Ball indentation method - ISO 2039-2, Plastics ⎯ Determination of hardness ⎯ Part 2: Rockwell hardness - BS 4573, Specification for 2-pin reversible plugs and shaver socket-outlets - IEC/TR 60083, Plugs and socket-outlets for domestic and similar general use standardized in member countries of IEC - IEC 60445:2021, Basic and safety principles for man-machine interface, marking and identification - Identification of equipment terminals, conductor terminations and conductors. |
| 9. | Proposed date of adoption: To be determined Proposed date of entry into force: To be determined |
| 10. | Final date for comments: 60 days from notification |
| 11. | Texts available from: National enquiry point [ ] or address, telephone and fax numbers and email and website addresses, if available, of other body: Mr. Johnny Uwimana Hassan WTO/TBT Enquiry point Rwanda Standards Board KK 15 Rd, 49 Kigali Tel: Hotline: 3250; +(250) 788636510 Fax: +(250)788303492 Email: info@rsb.gov.rw; johnny.uwimana@rsb.gov.rw Website: http://www.rsb.gov.rw https://members.wto.org/crnattachments/2025/TBT/RWA/25_00122_00_e.pdf |