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NOTIFICATION
Addendum
The following communication, dated 3 February 2025, is being circulated at the request of the delegation of the United States of America.

_______________


Title: Draft Regulatory Guides: Criteria for Power Systems for Nuclear Power Plants and Criteria for the Protection of Class 1E Power Systems and Equipment for Nuclear Power Plants

	[bookmark: _Hlk24973414]Reason for Addendum:

	[ ]
	Comment period changed - date: 

	[ ]
	Notified measure adopted - date: 

	[X]
	Notified measure published - date: 31 January 2025

	[X]
	Notified measure enters into force - date: 31 January 2025

	[X]
	[bookmark: _Ref40866877]Text of final measure available from[footnoteRef:2]:  [2:  This information can be provided by including a website address, a pdf attachment, or other information on where the text of the final/modified measure and/or interpretive guidance can be obtained.] 

https://members.wto.org/crnattachments/2025/TBT/USA/final_measure/25_01138_00_e.pdf

	[ ]
	Notified measure withdrawn or revoked - date: 
Relevant symbol if measure re-notified: 

	[ ]
	Content or scope of notified measure changed and text available from1: 
New deadline for comments (if applicable): 

	[ ]
	Interpretive guidance issued and text available from1: 

	[ ]
	Other: 



Description: The U.S. Nuclear Regulatory Commission (NRC) is issuing Revision 4 to Regulatory Guide (RG) 1.32, ''Criteria for Power Systems for Nuclear Power Plants,'' and new RG 1.238, ''Criteria for the Protection of Class 1E Power Systems and Equipment for Nuclear Power Plants.'' RG 1.32, Revision 4, describes an acceptable approach for use in complying with NRC regulations for the design, operation, and testing of electric power systems in nuclear power plants. RG 1.238 describes an acceptable approach for use in complying with NRC regulations for protection of Class 1E power systems and equipment at nuclear power plants. The NRC is also withdrawing RG 1.41, ''Preoperational Testing of Redundant On-Site Electric Power Systems to Verify Proper Load Group Assignments,'' since its guidance is incorporated into RG 1.32, Revision 4.
Revision 4 to RG 1.32 and Revision 0 to RG 1.238 are available on 31 January 2025. Access the Guides at https://www.nrc.gov/reading-rm/doc-collections/reg-guides/power-reactors/rg/index.html.
90 Federal Register (FR) 8655, 31 January 2025; Title 10 Code of Federal Regulations (CFR) Parts 50 and 52:
https://www.govinfo.gov/content/pkg/FR-2025-01-31/html/2025-02065.htm
https://www.govinfo.gov/content/pkg/FR-2025-01-31/pdf/2025-02065.pdf
This and the previous action notified as G/TBT/N/USA/2141 are identified by Docket Number NRC-2024-0140. The Docket Folder is available on Regulations.gov at https://www.regulations.gov/docket/NRC-2024-0140/document and provides access to primary documents as well as comments received. Documents are also accessible from Regulations.gov by searching the Docket Number.
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