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NOTIFICATION
The following notification is being circulated in accordance with Article 10.6

	1.
	Notifying Member: CHINA
If applicable, name of local government involved (Article 3.2 and 7.2): 

	2.
	Agency responsible: 
State Administration for Market Regulation (Standardization Administration of the P.R.C.)
Name and address (including telephone and fax numbers, email and website addresses, if available) of agency or authority designated to handle comments regarding the notification shall be indicated if different from above: 

	3.
	Notified under Article 2.9.2 [X], 2.10.1 [ ], 5.6.2 [ ], 5.7.1 [ ], 3.2 [ ], 7.2 [ ], other: 

	4.
	Products covered (HS or CCCN where applicable, otherwise national tariff heading. ICS numbers may be provided in addition, where applicable): double power fixed water supply equipment used for fire-protection
(HS code(s): 841410); (ICS code(s): 13.220.10)

	5.
	Title, number of pages and language(s) of the notified document: National Standard of the P.R.C., Fixed water supply equipment used for fire-protection —Part 5:Double power fixed water supply equipment used for fire-protection; (31 page(s), in Chinese)

	6.
	Description of content: This document specifies the basic parameters, equipment composition and common components, appearance and identification, control functions, smart and IOT functions, water supply capacity, continuous operation, sealing performance, and water pressure strength requirements, as well as the requirements for key components of double power fixed water supply equipment for fire-protection. It also provides the methods of classification and model compilation, and describes the corresponding test methods. 
This document applies to the design, manufacture, and inspection of double power fixed water supply equipment used for fire-protection.

	7.
	Objective and rationale, including the nature of urgent problems where applicable: Protection of human health or safety; Quality requirements

	8.
	Relevant documents: 

	9.
	Proposed date of adoption: To be determined
Proposed date of entry into force: 12 months after approval

	10.
	Final date for comments: 60 days from notification

	11.
	Texts available from: National enquiry point [X] or address, telephone and fax numbers and email and website addresses, if available, of other body: 
WTO/TBT National Notification and Enquiry Center of the People's Republic of China
Tel：+86 10 57954633/ 57954627
E_mail: tbt@customs.gov.cn
https://members.wto.org/crnattachments/2025/TBT/CHN/25_01725_00_x.pdf
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