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NOTIFICATION
The following notification is being circulated in accordance with Article 10.6

	1.
	Notifying Member: BELIZE
If applicable, name of local government involved (Article 3.2 and 7.2): 

	2.
	Agency responsible: 
Belize Bureau of Standards
Name and address (including telephone and fax numbers, email and website addresses, if available) of agency or authority designated to handle comments regarding the notification shall be indicated if different from above: 
Power Lane,
City of Belmopan
Cayo District
Belize C.A.
Tel: +501-822-0446
Email: tbtenquiry-belize@bbs.gov.bz or helpdesk@bbs.gov.bz
Website: https://bbs.gov.bz/

	3.
	Notified under Article 2.9.2 [X], 2.10.1 [ ], 5.6.2 [ ], 5.7.1 [ ], 3.2 [ ], 7.2 [ ], other: 

	4.
	Products covered (HS or CCCN where applicable, otherwise national tariff heading. ICS numbers may be provided in addition, where applicable): HS Codes 280440; 281121; 280430

	5.
	Title, number of pages and language(s) of the notified document: Draft Belize Standard Code of Good Manufacturing Practices for Medical Gases; (40 page(s), in English)

	6.
	Description of content: This code of good manufacturing practices for medical gases provides requirements for the production, storage and distribution of medical gases namely for Oxygen; Nitrogen; Carbon dioxide; Nitrous Oxide; Compressed Air and any other medical gases, classified as drugs. The standard is not intended to be used in hospitals or at home for personal use. Atmospheric air contains a large variety of trace constituents. It is impractical to set individual limits for many of these; however, this specification qualifies certain grades of air by limiting the concentrations of specific trace constituents.

	7.
	Objective and rationale, including the nature of urgent problems where applicable: Protection of human health or safety; Quality requirements

	8.
	Relevant documents: -

	9.
	Proposed date of adoption: 31 July 2025
Proposed date of entry into force: 6 months from adoption

	10.
	Final date for comments: 27 June 2025

	11.
	Texts available from: National enquiry point [X] or address, telephone and fax numbers and email and website addresses, if available, of other body: 
https://bbs.gov.bz/standards-for-comments/
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