# NOTIFICATION

Addendum

The following communication, dated 3 June 2025, is being circulated at the request of the delegation of the State of Kuwait.

_______________

Title: "Rotating electrical machines - Efficiency classes of AC operated motors"

| Reason for Addendum: |  |
| --- | --- |
| [ ] | Comment period changed - date: |
| [ ] | Notified measure adopted - date: |
| [ ] | Notified measure published - date: |
| [ ] | Notified measure enters into force - date: |
| [ ] | Text of final measure available from: |
| [ ] | Notified measure withdrawn or revoked - date: Relevant symbol if measure re-notified: |
| [X] | Content or scope of notified measure changed and text available from1: - https://members.wto.org/crnattachments/2025/TBT/KWT/modification/25_03645_00_e.pdf New deadline for comments (if applicable): |
| [ ] | Interpretive guidance issued and text available from1: |
| [ ] | Other: |

Description: KWS 1897 specifies efficiency classes for single-speed electric motors that are rated according to IEC 60034-1 and rated for operation on a sinusoidal voltage supply. The scope of the standard, as well as its exceptions, is defined in the following Table 1.

Table 1: General Motors covered in KWS 1897 standards

| Number of poles | 2, 4, 6, 8 |
| --- | --- |
| Power range | 0.12 – 375 kW |
| Number of phases | 3 Phase only |
| Efficiency Level | IE1 - Standard Efficiency IE2 - High Efficiency IE3 - Premium Efficiency IE4 - Super Premium Efficiency |
| Voltage | < 1000 V, 50 Hz |
| Degree of protection | All |
| Operating mode | S1 (permanent operation with constant load); motors, that are designed for different operating modes but can still be operated permanently with rated output. |
| Degree of temperature | -20°C - +60°C |
| Altitude | Up to 4000 m above sea level |
| Geared motors | Included |
| Smoke Extraction Motors with a temperature class up to 400°C | Included |

__________

This information can be provided by including a website address, a pdf attachment, or other information on where the text of the final/modified measure and/or interpretive guidance can be obtained.