# NOTIFICATION

Addendum

The following communication, dated 1 July 2025, is being circulated at the request of the delegation of the State of Kuwait.

_______________

Title: Electrical accessories - Cable reels for household and similar purposes

| Reason for Addendum: |  |
| --- | --- |
| [ ] | Comment period changed - date: |
| [ ] | Notified measure adopted - date: |
| [ ] | Notified measure published - date: |
| [ ] | Notified measure enters into force - date: |
| [ ] | Text of final measure available from: |
| [ ] | Notified measure withdrawn or revoked - date: Relevant symbol if measure re-notified: |
| [X] | Content or scope of notified measure changed and text available from1: pdf attachment https://members.wto.org/crnattachments/2025/TBT/KWT/modification/25_04242_00_e.pdf New deadline for comments (if applicable): |
| [ ] | Interpretive guidance issued and text available from1: |
| [ ] | Other: |

Description: Replace the whole text of this clause by the following:

This International Standard applies to cable reels for a.c. only, with a rated voltage above

50 V and not exceeding 250 V for single-phase cable reels and above 50 V and not exceeding

440 V for all other cable reels, and a rated current not exceeding 16 A. They are intended for

household, commercial and light industrial and similar purposes, either indoors or outdoors,

with particular reference to safety in normal use.

This standard does not apply to:

– cable reeling devices incorporated in appliances or luminaires;

– cable reeling devices associated with appliances or luminaires.

NOTE 1 Requirements for cable reeling devices incorporated in appliances are specified in IEC 60335-1 and

IEC 60335-2-2.

NOTE 2 Requirements for cable reeling devices incorporated in luminaires are specified in IEC 60598-1 and

IEC 60598-2-25.

NOTE 3 A cable reeling device associated with an appliance or luminaire is a device designed to supply a specific

appliance or luminaire. It must be fixed to or delivered with the appliance or luminaire, without being incorporated

in it and having its own enclosure which provides protection against electric shock. An example is a cable reeling

device associated with handlamps according to IEC 60598-2-8.

This standard may be used as a guide for cable reeling devices incorporated or associated in

appliances or luminaires as far as it is applicable.

61242 Amend.1 © IEC:2008 – 3 –

Cable reels complying with this standard are suitable for use at ambient temperatures not

normally exceeding 25 °C, but occasionally reaching 35 °C.

In locations where special conditions prevail, special construction may be required.

__________

This information can be provided by including a website address, a pdf attachment, or other information on where the text of the final/modified measure and/or interpretive guidance can be obtained.