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NOTIFICATION
The following notification is being circulated in accordance with Article 10.6

	1.
	Notifying Member: THE SEPARATE CUSTOMS TERRITORY OF TAIWAN, PENGHU, KINMEN AND MATSU
If applicable, name of local government involved (Article 3.2 and 7.2): 

	2.
	Agency responsible: 
Bureau of Standards, Metrology and Inspection
Name and address (including telephone and fax numbers, email and website addresses, if available) of agency or authority designated to handle comments regarding the notification shall be indicated if different from above: 

	3.
	Notified under Article 2.9.2 [X], 2.10.1 [ ], 5.6.2 [X], 5.7.1 [ ], 3.2 [ ], 7.2 [ ], other: 

	4.
	Products covered (HS or CCCN where applicable, otherwise national tariff heading. ICS numbers may be provided in addition, where applicable): Static converters (HS code(s): 850440)

	5.
	Title, number of pages and language(s) of the notified document: Proposal for Amendments to the Legal Inspection Requirements for Power Conversion System; (6 page(s), in English), (6 page(s), in Chinese)

	6.
	Description of content: To achieve net-zero carbon emissions by 2050, it is expected that renewable energy power generation equipment and energy storage systems will gradually be installed not only at outdoor sites but also in indoor households and factories. Considering that the Power Conversion System (PCS) is a critical component of energy storage systems, the BSMI proposes to expand PCS not exceeding 100 kW in the mandatory inspection scope to ensure consumer safety. Two alternative conformity assessment procedures are made available for the choice of applicants, i.e. Registration of Product Certification (RPC) or Type-Approved Batch Inspection (TABI).

	7.
	Objective and rationale, including the nature of urgent problems where applicable: Protection of human health or safety

	8.
	Relevant documents: 
Government Gazette, Vol. 031, No. 135, dated 21 July 2025.
(https://gazette.nat.gov.tw/egFront/e_detail.do?metaid=158793)
Relevant notifications:
1. G/TBT/N/TPKM/564
2. G/TBT/N/TPKM/546

	9.
	Proposed date of adoption: To be determined
Proposed date of entry into force: 
1 July 2026（inspection scope: no more than 20 kW）
1 July 2027（inspection scope: over 20 kW and not xeceeding 100 kW）

	10.
	Final date for comments: 22 September 2025，
[X] 60 days from notification 
Contact details of agency or authority designated to handle comments regarding the notification: 
WTO TBT Enquiry Point
Bureau of Standards, Metrology and Inspection
Ministry of Economic Affairs
No. 4, Sec. 1, Jinan Rd., Zhongzheng Dist.
Taipei City 100, Taiwan
Tel: +(886-2) 23431700#1566
Fax: +(886-2) 23431804
Email: tbtenq@bsmi.gov.tw

	11.
	[bookmark: _GoBack]Texts available from: National enquiry point [X] or address, telephone and fax numbers and email and website addresses, if available, of other body: 
WTO TBT Enquiry Point, Email: tbtenq@bsmi.gov.tw
https://members.wto.org/crnattachments/2025/TBT/TPKM/25_04802_00_e.pdf
https://members.wto.org/crnattachments/2025/TBT/TPKM/25_04802_00_x.pdf
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