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NOTIFICATION
Addendum
The following communication, dated 30 July 2025, is being circulated at the request of the delegation of the United States of America.

_______________


Title: Reliability Standards for Frequency and Voltage Protection Settings and Ride-Through for Inverter-Based Resources

	[bookmark: _Hlk24973414]Reason for Addendum:

	[ ]
	Comment period changed - date: 

	[ ]
	Notified measure adopted - date: 

	[X]
	Notified measure published - date: 29 July 2025

	[X]
	Notified measure enters into force - date: 28 August 2025

	[X]
	[bookmark: _Ref40866877]Text of final measure available from[footnoteRef:2]:  [2:  This information can be provided by including a website address, a pdf attachment, or other information on where the text of the final/modified measure and/or interpretive guidance can be obtained.] 

https://members.wto.org/crnattachments/2025/TBT/USA/final_measure/25_05057_00_e.pdf

	[ ]
	Notified measure withdrawn or revoked - date: 
Relevant symbol if measure re-notified: 

	[ ]
	Content or scope of notified measure changed and text available from1: 
New deadline for comments (if applicable): 

	[ ]
	Interpretive guidance issued and text available from1: 

	[ ]
	Other: 



Description: The Federal Energy Regulatory Commission (Commission) approves proposed Reliability Standard PRC-024-4 (Frequency and Voltage Protection Settings for Synchronous Generators, Type 1 and Type 2 Wind Resources, and Synchronous Condensers), Reliability Standard PRC-029-1 (Frequency and Voltage Ride-through Requirements for Inverter-Based Resources), and a definition of ''Ride-through,'' which the North American Electric Reliability Corporation (NERC) submitted in response to a Commission directive. In addition, the Commission directs NERC to clarify documentation requirements for legacy equipment needed to support an exemption request pursuant to Reliability Standard PRC-029- 1; to consider whether, and if so how, to address a total of two exception- and exemption-related issues raised by commenters; and to submit an informational filing that assesses the reliability impact of the exemptions to Reliability Standard PRC-029-1.
This rule is effective 28 August 2025.
90 Federal Register (FR) 35599, 29 July 2025; Title 18 Code of Federal Regulations (CFR) Part 40:
https://www.govinfo.gov/content/pkg/FR-2025-07-29/html/2025-14304.htm
https://www.govinfo.gov/content/pkg/FR-2025-07-29/pdf/2025-14304.pdf
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