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NOTIFICATION
Addendum
The following communication, dated 13 August 2025, is being circulated at the request of the delegation of the United States of America.

_______________


Title: Regulatory Guide: Qualification of Fiber-Optic Cables, Connections, and Optical Fiber Splices for Use in Safety Systems for Production and Utilization Facilities
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Description: The U.S. Nuclear Regulatory Commission (NRC) is issuing a new Regulatory Guide (RG) 1.257, ''Qualification of Fiber-Optic Cables, Connections, and Optical Fiber Splices for Use in Safety Systems for Production and Utilization Facilities.'' This RG describes an approach that is acceptable to the staff of the NRC for use in complying with the NRC's regulations that address the environmental qualification of fiber-optic cables, connections, and optical fiber splices in safety systems in production and utilization facilities. This RG endorses, subject to the conditions described in Section C of the RG, the Institute of Electrical and Electronics Engineers (IEEE) Standard 1682- 2023, ''IEEE Standard for Qualifying Fiber Optic Cables, Connections, and Optical Fiber Splices for Use in Safety Systems in Nuclear Power Generating Stations.''
Revision 0 to RG 1.257 is available on 12 August 2025.
90 Federal Register (FR) 38827, 12 August 2025:
https://www.govinfo.gov/content/pkg/FR-2025-08-12/html/2025-15227.htm
https://www.govinfo.gov/content/pkg/FR-2025-08-12/pdf/2025-15227.pdf
This action and the previous action notified as G/TBT/N/USA/2156 are identified by Docket Number NRC-2024-0161. The Docket Folder is available on Regulations.gov at https://www.regulations.gov/docket/NRC-2024-0161 and provides access to primary documents as well as comments received. Documents are also accessible from Regulations.gov by searching the Docket Number.
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