	[bookmark: bmkRestricted]
	

	[image: ]
	

	
	[bookmark: bmkSymbols]G/TBT/N/THA/793

	
	[bookmark: spsDateDistribution][bookmark: bmkDate]20 October 2025

	[bookmark: bmkSerial](25-6759)
	[bookmark: bmkTotPages]Page: 1/2

	[bookmark: bmkCommittee]Committee on Technical Barriers to Trade
	[bookmark: bmkLanguage][bookmark: spsOriginalLanguage]Original: English



tbtSymbol

- 1 -

[bookmark: spsSymbolHeader]G/TBT/N/THA/793

- 2 -

NOTIFICATION
The following notification is being circulated in accordance with Article 10.6

	1.
	Notifying Member: THAILAND
If applicable, name of local government involved (Articles 3.2 and 7.2): 

	2.
	Agency responsible: 
Thai Industrial Standards Institute (TISI), Ministry of Industry

	3.
	Notified under Article 2.9.2 [X], 2.10.1 [ ], 5.6.2 [ ], 5.7.1 [ ], 3.2 [ ], 7.2 [ ], Other: 

	4.
	Products covered (HS codes or national tariff lines. ICS numbers may be provided in addition, where applicable): Portable Fire Extinguishers: Dry Chemical (ICS 13.200.20)

	5.
	Details of notified document(s) (title, number of pages and languages, means of access): Draft Ministerial Regulation Prescribing Industrial Products for Dry Chemical Portable Fire Extinguishers to Conform to the Standard B.E. ....; (25 page(s), in Thai)
Link to notified document(s) and/or contact details for agency or authority which can provide copies upon request: 
https://members.wto.org/crnattachments/2025/TBT/THA/25_06998_00_x.pdf
WTO/TBT Enquiry Point and Notification Authority
Thai Industrial Standards Institute (TISI), Ministry of Industry
Tel: (662)430 6831 ext. 2130
Fax: (662)354 3041
E-mail: thaitbt@tisi.mail.go.th
Website: https://www.tisi.go.th

	6.
	Description of content: The draft Ministerial Regulation mandates dry chemical portable fire extinguishers, including both new and refilled cylinders to conform to the Thai Industrial Standard TIS 332-2567(2024) Portable Fire Extinguishers: Dry Chemical. 
This standard applies to portable fire extinguishers with a total mass not exceeding 25 kg that contain dry chemical as the extinguishing agents. The extinguishers must be suitable for use on Class A (ordinary combustibles), Class B (flammable liquids or gases) and Class C (energized electrical equipment) fires.

	7.
	Objective and rationale, including the nature of urgent problems where applicable: Protection of human health or safety

	8.
	Relevant documents: 
ANSI/UL 299-2021 Dry Chemical Fire Extinguishers
ANSI/UL 711-2023 Rating and Fire Testing of Fire Extinguishers

	9.
	Proposed date of adoption: To be determined
Proposed date of entry into force: After 180 days following the date of its publication in the Government Gazette.

	10.
	Provision of comments
Final date for comments: 19 November 2025 (30 days from notification)
[ ] 60 days from notification 
Contact details of agency or authority designated to handle comments regarding the notification: 
WTO/TBT Enquiry Point and Notification Authority
Thai Industrial Standards Institute (TISI), Ministry of Industry
Tel: (662) 430 6831 ext. 2130
Fax: (662) 354 3041
E-mail: thaitbt@tisi.mail.go.th
Website: https://www.tisi.go.th
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