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NOTIFICATION
The following notification is being circulated in accordance with Article 10.6

	1.
	Notifying Member: CHINA
If applicable, name of local government involved (Articles 3.2 and 7.2): 

	2.
	Agency responsible: 
State Administration for Market Regulation (Standardization Administration of the P.R.C.)

	3.
	Notified under Article 2.9.2 [X], 2.10.1 [ ], 5.6.2 [ ], 5.7.1 [ ], 3.2 [ ], 7.2 [ ], Other: 

	4.
	Products covered (HS codes or national tariff lines. ICS numbers may be provided in addition, where applicable): Crystalline silicon photovoltaic modules and inverters (HS code(s): 850440; 85414); (ICS code(s): 27.010)

	5.
	Details of notified document(s) (title, number of pages and languages, means of access): National Standard of the P.R.C., Minimum allowable values of energy efficiency and energy efficiency grades for crystalline silicon photovoltaic modules and inverters; (15 page(s), in Chinese)
Link to notified document(s) and/or contact details for agency or authority which can provide copies upon request: 
https://members.wto.org/crnattachments/2025/TBT/CHN/25_07200_00_x.pdf

	6.
	Description of content: This document specifies the energy efficiency grades, energy efficiency minimum allowable values and testing methods for crystalline silicon photovoltaic modules and photovoltaic grid-connected inverters. This document applies to crystalline silicon photovoltaic modules and photovoltaic grid-connected inverters, including centralized type inverters, string type inverters, and the inverters in pre-assembled integrated photovoltaic inverter all-in-one device.
This document does not apply to:
- building integrated photovoltaic (BIPV) modules;
- consumer photovoltaic modules;
- perovskite/crystalline silicon laminated photovoltaic modules;
- grid-connected photovoltaic inverters below 20 kW.

	7.
	Objective and rationale, including the nature of urgent problems where applicable: Energy saving; Protection of the environment

	8.
	Relevant documents: 
-

	9.
	Proposed date of adoption: To be determined
Proposed date of entry into force: 12 months after approved

	10.
	Provision of comments
Final date for comments: 26 December 2025
[X] 60 days from notification 
Contact details of agency or authority designated to handle comments regarding the notification: 
WTO/TBT National Notification and Enquiry Center of the People's Republic of China
Tel：+86 10 57954633/ 57954627
E_mail: tbt@customs.gov.cn
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