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NOTIFICATION
The following notification is being circulated in accordance with Article 10.6

	1.
	Notifying Member: AUSTRALIA
If applicable, name of local government involved (Articles 3.2 and 7.2): 

	2.
	Agency responsible: 
Australian Building Codes Board, Housing Group, The Department of the Treasury

	3.
	Notified under Article 2.9.2 [X], 2.10.1 [ ], 5.6.2 [ ], 5.7.1 [ ], 3.2 [ ], 7.2 [ ], Other: 

	4.
	Products covered (HS codes or national tariff lines. ICS numbers may be provided in addition, where applicable): Emergency shower, eye and eye/face wash equipment and drench hoses. 
Baths, shower-baths, sinks and washbasins, of plastics (HS code(s): 392210); Appliances for pipes, boiler shells, tanks, vats or the like (excl. pressure-reducing valves, valves for the control of pneumatic power transmission, check "non-return" valves and safety or relief valves) (HS code(s): 848180)

	5.
	Details of notified document(s) (title, number of pages and languages, means of access): WaterMark Certification Scheme - AS 4775. Emergency shower, eye and eye/face wash equipment and drench hoses; (42 page(s), in English)
Link to notified document(s) and/or contact details for agency or authority which can provide copies upon request: 
https://comment.standards.org.au/Drafts/4a766c11-1052-4e15-aee4-0d5b67477c94

	6.
	Description of content: This document specifies minimum requirements for the supply, installation, performance and use of —
(a) eyewash and shower equipment for the emergency treatment of the eyes or body of a person who has been exposed to materials which may cause injuries; and
(b) the following supplemental equipment:
(i) Drench hoses.
(ii) Self-contained (portable) equipment.
This document covers —
(i) emergency shower equipment;
(ii) eyewash equipment;
(iii) eye or face wash equipment;
(iv) combination shower and eyewash or eye or face wash equipment;
(v) Items (i) to (iv) above for people with disability; and
(vi) accessibility for the above.
This document does not cover large-scale multispray shower equipment that is used in major emergency response or military applications. However, eyewash units that are included with such equipment are covered by this document.
NOTE: The equipment in this document is not suitable for the first aid of cryogenic burns.
The Plumbing Code of Australia (PCA) requires that most products intended for use in plumbing and drainage installations in or around buildings to be evaluated and certified to WaterMark product specifications. WaterMark certification to an applicable product specification provides a process to evaluate and authorise products to enable their use in a plumbing and drainage installation. Thus ensuring that the plumbing and drainage products are fit for purpose for which they are intended.
This Australian Standard was prepared in accordance with the Manual for the WaterMark Certification Scheme, Appendix 4, Protocol for Developing Product Specifications.
The objective of the Australian Standard is to enable product certification in accordance with the requirements of the Plumbing Code of Australia (PCA).

	7.
	Objective and rationale, including the nature of urgent problems where applicable: The objectives of the Scheme are to establish the requirements for product certification and authorisation under Part A5 of the PCA and:
a) to provide a process to authorise products to enable their use in plumbing and drainage installations as covered by the PCA, and
b) to ensure that plumbing and drainage products are fit for the purpose for which they are intended and that their use in a plumbing and drainage installation throughout its serviceable life is suitable and does not create significant risks or any likely outcome of:
(i) personal illness, loss, injury or death;
(ii) on-site environmental degradation;
(iii) contamination of the water resource;
(iv) adverse impact on infrastructure (private or public);
(v) contamination of water supplies from the point of connection to the points of discharge; or
(vi) wastage of resources (water and energy).; Protection of human health or safety

	8.
	Relevant documents: 
Manual for the WaterMark Certification Scheme
WaterMark Schedule of Products

	9.
	Proposed date of adoption: To be determined; in 2026
Proposed date of entry into force: To be determined; in 2026

	10.
	Provision of comments
Final date for comments: 18 December 2025
[ ] 60 days from notification 
Contact details of agency or authority designated to handle comments regarding the notification: 
WTO TBT Enquiry Point
Office of Global Trade Negotiations
Department of Foreign Affairs and Trade
Canberra
Tel: +(61) 2 6261 1111
Email: tbt.enquiry@dfat.gov.au
Website: https://www.dfat.gov.au/
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