# NOTIFICACIÓN

Se da traslado de la notificación siguiente de conformidad con el artículo 10.6.

| 1. | Miembro que notifica: CHILE Si procede, nombre del gobierno local de que se trate (artículos 3.2 y 7.2): |
| --- | --- |
| 2. | Organismo responsable: Superintendencia de Servicios Sanitarios (SISS) |
| 3. | Notificación hecha en virtud del artículo 2.9.2 [X], 2.10.1 [ ], 5.6.2 [ ], 5.7.1 [ ], 3.2 [ ], 7.2 [ ], o en virtud de: |
| 4. | Productos abarcados (código del SA o líneas arancelarias nacionales. Podrá indicarse además, cuando proceda, el número de partida de la ICS): Medidores para agua potable fría y agua caliente. |
| 5. | Datos del documento notificado (título, número de páginas e idioma(s), medio de acceso): NCh 3274/2: 2015 Medidores para agua potable fría y agua caliente — Parte 2: Métodos de ensayos; (132 página(s), en español) Enlace al documento notificado y/o información de contacto del organismo o autoridad que puede facilitar una copia del documento notificado previa petición: Para acceder a la visualización de dicha norma, debe ingresar en https://www.inncoleccion.cl/ y digitar los datos siguientes: Empresa: SUBREI-001-26 Usuario: subrei Contraseña: subrei |
| 6. | Descripción del contenido: Esta norma es aplicable a la evaluación de tipo y pruebas de verificación de rutina de los medidores de agua para agua potable fría y agua caliente como se define en NCh3274/1. Los certificados de conformidad se deben emitir para los medidores de agua de acuerdo a lo establecido en NCh3274/1. Esta norma precisa los detalles del programa de prueba, principios, equipos y procedimientos que se utilizan para la evaluación de tipo y verificación de rutina de un tipo de medidor. Las disposiciones de esta norma también se aplican a los dispositivos auxiliares. Las disposiciones incluyen requisitos para ensayar completamente el medidor de agua y para ensayar el transductor de medición (incluyendo el sensor de flujo o volumen) y la calculadora (incluyendo el dispositivo indicador) de un medidor de agua como unidades separadas. |
| 7. | Objetivo y razón de ser, incluida, cuando proceda, la naturaleza de los problemas urgentes: Prescripciones en materia de calidad |
| 8. | Documentos pertinentes: - ISO 4064-1:2014¦OIML R 49-1:2013, Water meters for cold potable water and hot water - Part 1:Metrological and technical requirements. - ISO 4064-3:2014¦OIML R 49-3:2013, Water meters for cold potable water and hot water - Part 3: Test report format. - ISO/IEC Guide 98-3:2008, Uncertainty of measurement - Part 3: Guide to the expression of uncertainty in measurement (GUM:1995). - IEC 60068-2-1, Environmental testing - Part 2-1: Tests - Test A: Cold. - IEC 60068-2-2, Environmental testing - Part 2-2: Tests - Test B: Dry heat. - IEC 60068-2-30, Environmental testing - Part 2-30: Tests - Test Db: Damp heat, cyclic (12 h + 12 h cycle). - IEC 60068-2-31, Environmental testing - Part 2-31: Tests - Test Ec: Rough handling shocks, primarily for equipment-type specimens. - IEC 60068-2-47, Environmental testing - Part 2-47: Tests - Mounting of specimens for vibration, impact and similar dynamic tests. - IEC 60068-2-64, Environmental testing - Part 2-64: Tests - Test Fh: Vibration, broadband random and guidance. - IEC 60068-3-4, Environmental testing - Part 3-4: Supporting documentation and guidance - Damp heat tests. - EC 60654-2, Operating conditions for industrial process measurement and control equipment -Part 2: Power. - IEC 61000-2-1, Electromagnetic compatibility (EMC) - Part 2: Environment - Section 1: Description of the environment - Electromagnetic environment for low-frequency conducted disturbances and signaling in public power supply systems. - IEC 61000-2-2, Electromagnetic compatibility (EMC) - Part 2-2: Environment - Compatibility levels for low-frequency conducted disturbances and signaling in public low-voltage power supply systems. - IEC 61000-4-1, Electromagnetic compatibility (EMC) - Part 4-1: Testing and measurement techniques Overview of IEC 61000-4 series. - IEC 61000-4-2, Electromagnetic compatibility (EMC) - Part 4-2: Testing and measurement techniques - Electrostatic discharge immunity test. - IEC 61000-4-3, Electromagnetic compatibility (EMC) - Part 4-3: Testing and measurement techniques - Radiated, radio frequency, electromagnetic fi eld immunity test. - IEC 61000-4-4, Electromagnetic compatibility (EMC) - Part 4-4: Testing and measurement techniques - Electrical fast transient/burst immunity test. - IEC 61000-4-5, Electromagnetic compatibility (EMC) - Part 4-5: Testing and measurement techniques - Surge immunity test. - IEC 61000-4-6, Electromagnetic compatibility (EMC) - Part 4-6: Testing and measurement techniques - Immunity to conducted disturbances, induced by radio-frequency fi elds. - IEC 61000-4-11, Electromagnetic compatibility (EMC) - Part 4-11: Testing and measurement techniques - Voltage dips, short interruptions and voltage variations immunity tests. - IEC 61000-6-1, Electromagnetic compatibility (EMC) - Part 6-1: Generic standards - Immunity for residential, commercial and light-industrial environments. - IEC 61000-6-2, Electromagnetic compatibility (EMC) - Part 6-2: Generic standards - Immunity for industrial environments. - OIML D 11:2004, General requirements for electronic measuring instruments. - OIML G 13:1989, Planning of metrology and testing laboratories. |
| 9. | Fecha propuesta de adopción: - Fecha propuesta de adopción y entrada en vigor: - |
| 10. | Presentación de observaciones Fecha límite para la presentación de observaciones: 3 de abril de 2026 [X] 60 días a partir de la fecha de notificación Datos de contacto del organismo o la autoridad encargados de dar trámite a las observaciones sobre la notificación de que se trate: Subsecretaría de Relaciones Económicas Internacionales (SUBREI) Ministerio de Relaciones Exteriores Teatinos 180, piso 11 Teléfono: (+56)- 2- 2827 5251 Correo electrónico: tbt_chile@subrei.gob.cl |