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NOTIFICACIÓN
Se da traslado de la notificación siguiente de conformidad con el artículo 10.6.

	1.
	Miembro que notifica: CHILE
Si procede, nombre del gobierno local de que se trate (artículos 3.2 y 7.2): 

	2.
	Organismo responsable: 
Superintendencia de Servicios Sanitarios (SISS)

	3.
	Notificación hecha en virtud del artículo 2.9.2 [X], 2.10.1 [ ], 5.6.2 [ ], 5.7.1 [ ], 3.2 [ ], 7.2 [ ], o en virtud de: 

	4.
	Productos abarcados (código del SA o líneas arancelarias nacionales. Podrá indicarse además, cuando proceda, el número de partida de la ICS): Medidores para agua potable fría y agua caliente.

	5.
	Datos del documento notificado (título, número de páginas e idioma(s), medio de acceso): NCh 3274/2: 2015 Medidores para agua potable fría y agua caliente — Parte 2: Métodos de ensayos; (132 página(s), en español)
Enlace al documento notificado y/o información de contacto del organismo o autoridad que puede facilitar una copia del documento notificado previa petición: 
Para acceder a la visualización de dicha norma, debe ingresar en https://www.inncoleccion.cl/ y digitar los datos siguientes:
Empresa: SUBREI-001-26
Usuario: subrei
Contraseña: subrei

	6.
	Descripción del contenido: Esta norma es aplicable a la evaluación de tipo y pruebas de verificación de rutina de los medidores de agua para agua potable fría y agua caliente como se define en NCh3274/1. Los certificados de conformidad se deben emitir para los medidores de agua de acuerdo a lo establecido en NCh3274/1.
Esta norma precisa los detalles del programa de prueba, principios, equipos y procedimientos que se utilizan para la evaluación de tipo y verificación de rutina de un tipo de medidor.
Las disposiciones de esta norma también se aplican a los dispositivos auxiliares.
Las disposiciones incluyen requisitos para ensayar completamente el medidor de agua y para ensayar el transductor de medición (incluyendo el sensor de flujo o volumen) y la calculadora (incluyendo el dispositivo indicador) de un medidor de agua como unidades separadas.

	7.
	Objetivo y razón de ser, incluida, cuando proceda, la naturaleza de los problemas urgentes: Prescripciones en materia de calidad

	8.
	Documentos pertinentes: 
· ISO 4064-1:2014|OIML R 49-1:2013, Water meters for cold potable water and hot water - Part 1:Metrological and technical requirements.
· ISO 4064-3:2014|OIML R 49-3:2013, Water meters for cold potable water and hot water - Part 3: Test report format.
· ISO/IEC Guide 98-3:2008, Uncertainty of measurement - Part 3: Guide to the expression of uncertainty in measurement (GUM:1995).
· IEC 60068-2-1, Environmental testing - Part 2-1: Tests - Test A: Cold.
· IEC 60068-2-2, Environmental testing - Part 2-2: Tests - Test B: Dry heat.
· IEC 60068-2-30, Environmental testing - Part 2-30: Tests - Test Db: Damp heat, cyclic (12 h + 12 h cycle).
· IEC 60068-2-31, Environmental testing - Part 2-31: Tests - Test Ec: Rough handling shocks, primarily for equipment-type specimens.
· IEC 60068-2-47, Environmental testing - Part 2-47: Tests - Mounting of specimens for vibration, impact and similar dynamic tests.
· IEC 60068-2-64, Environmental testing - Part 2-64: Tests - Test Fh: Vibration, broadband random and guidance.
· IEC 60068-3-4, Environmental testing - Part 3-4: Supporting documentation and guidance - Damp heat tests.
· EC 60654-2, Operating conditions for industrial process measurement and control equipment -Part 2: Power.
· IEC 61000-2-1, Electromagnetic compatibility (EMC) - Part 2: Environment - Section 1: Description of the environment - Electromagnetic environment for low-frequency conducted disturbances and signaling in public power supply systems.
· IEC 61000-2-2, Electromagnetic compatibility (EMC) - Part 2-2: Environment - Compatibility levels for low-frequency conducted disturbances and signaling in public low-voltage power supply systems.
· IEC 61000-4-1, Electromagnetic compatibility (EMC) - Part 4-1: Testing and measurement techniques Overview of IEC 61000-4 series.
· IEC 61000-4-2, Electromagnetic compatibility (EMC) - Part 4-2: Testing and measurement techniques - Electrostatic discharge immunity test.
· IEC 61000-4-3, Electromagnetic compatibility (EMC) - Part 4-3: Testing and measurement techniques - Radiated, radio frequency, electromagnetic fi eld immunity test.
· IEC 61000-4-4, Electromagnetic compatibility (EMC) - Part 4-4: Testing and measurement techniques - Electrical fast transient/burst immunity test.
· IEC 61000-4-5, Electromagnetic compatibility (EMC) - Part 4-5: Testing and measurement techniques - Surge immunity test.
· IEC 61000-4-6, Electromagnetic compatibility (EMC) - Part 4-6: Testing and measurement techniques - Immunity to conducted disturbances, induced by radio-frequency fi elds.
· IEC 61000-4-11, Electromagnetic compatibility (EMC) - Part 4-11: Testing and measurement techniques - Voltage dips, short interruptions and voltage variations immunity tests.
· IEC 61000-6-1, Electromagnetic compatibility (EMC) - Part 6-1: Generic standards - Immunity for residential, commercial and light-industrial environments.
· IEC 61000-6-2, Electromagnetic compatibility (EMC) - Part 6-2: Generic standards - Immunity for industrial environments.
· OIML D 11:2004, General requirements for electronic measuring instruments.
· OIML G 13:1989, Planning of metrology and testing laboratories.

	9.
	Fecha propuesta de adopción: -
Fecha propuesta de adopción y entrada en vigor: -

	10.
	Presentación de observaciones
Fecha límite para la presentación de observaciones: 3 de abril de 2026
[X] 60 días a partir de la fecha de notificación 
Datos de contacto del organismo o la autoridad encargados de dar trámite a las observaciones sobre la notificación de que se trate: 
Subsecretaría de Relaciones Económicas Internacionales (SUBREI)
Ministerio de Relaciones Exteriores
Teatinos 180, piso 11
Teléfono: (+56)- 2- 2827 5251
Correo electrónico: tbt_chile@subrei.gob.cl
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