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NOTIFICATION
The following notification is being circulated in accordance with Article 10.6

	1.
	Notifying Member: CHINA
If applicable, name of local government involved (Articles 3.2 and 7.2): 

	2.
	Agency responsible: 
State Administration for Market Regulation (Standardization Administration of the P.R.C.)

	3.
	Notified under Article 2.9.2 [X], 2.10.1 [ ], 5.6.2 [ ], 5.7.1 [ ], 3.2 [ ], 7.2 [ ], Other: 

	4.
	Products covered (HS codes or national tariff lines. ICS numbers may be provided in addition, where applicable): Electrical fire monitoring device for harmonic suppressing (HS code(s): 903180); (ICS code(s): 13.220.20)

	5.
	Details of notified document(s) (title, number of pages and languages, means of access): National Standard of the P.R.C.,Electrical fire monitoring system—Part6: Electrical fire monitoring device for harmonic suppressing; (23 page(s), in Chinese)
Link to notified document(s) and/or contact details for agency or authority which can provide copies upon request: 
https://members.wto.org/crnattachments/2026/TBT/CHN/26_01986_00_x.pdf

	6.
	Description of content: This document specifies the terms and definitions of electrical fire monitoring device for harmonic suppressing, specifies the classification, requirements, inspection rules and marking, and describes the corresponding test methods.
This document applies to the design, manufacture and inspection of electrical fire monitoring device for harmonic suppressing used in electrical fire monitoring systems.

	7.
	Objective and rationale, including the nature of urgent problems where applicable: Protection of human health or safety

	8.
	Relevant documents: 
-

	9.
	Proposed date of adoption: To be determined
Proposed date of entry into force: 12 months after approval

	10.
	Provision of comments
Final date for comments: 9 June 2026
[X] 60 days from notification 
Contact details of agency or authority designated to handle comments regarding the notification: 
WTO/TBT National Notification and Enquiry Center of the People's Republic of China
Tel：+86 10 57954633/ 57954627
E_mail: tbt@customs.gov.cn
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