	[bookmark: bmkRestricted]
	

	[image: ]
	

	
	[bookmark: bmkSymbols]G/TBT/N/CHN/2256

	
	[bookmark: spsDateDistribution][bookmark: bmkDate]27 May 2026

	[bookmark: bmkSerial](26-3895)
	[bookmark: bmkTotPages]Page: 1/2

	[bookmark: bmkCommittee]Committee on Technical Barriers to Trade
	[bookmark: bmkLanguage][bookmark: spsOriginalLanguage]Original: English



tbtSymbol

- 1 -

[bookmark: spsSymbolHeader]G/TBT/N/CHN/2256

- 2 -

NOTIFICATION
The following notification is being circulated in accordance with Article 10.6

	1.
	Notifying Member: CHINA
If applicable, name of local government involved (Articles 3.2 and 7.2): 

	2.
	Agency responsible: 
State Administration for Market Regulation (Standardization Administration of the P.R.C.)

	3.
	Notified under Article 2.9.2 [X], 2.10.1 [ ], 5.6.2 [ ], 5.7.1 [ ], 3.2 [ ], 7.2 [ ], Other: 

	4.
	Products covered (HS codes or national tariff lines. ICS numbers may be provided in addition, where applicable): Room air conditioners, low ambient temperature air source heat pump air heaters (HS code(s): 8415); (ICS code(s): 27.010)

	5.
	Details of notified document(s) (title, number of pages and languages, means of access): National Standard of the P.R.C., Minimum allowable values of the energy efficiency and energy efficiency grades for room air conditioners; (61 page(s), in Chinese)
Link to notified document(s) and/or contact details for agency or authority which can provide copies upon request: 
https://members.wto.org/crnattachments/2026/TBT/CHN/26_02750_00_x.pdf

	6.
	Description of content: This document specifies energy efficiency grades，minimum allowable values of energy efficiency, testing methods and implementation requirements for room air conditioners. 
This document applies to room air conditioners with air cooling condensers, fully enclosed electric compressors, rated cooling capacity of not exceeding 14000W, T1 climate type and low ambient temperature air source heat pump air heaters with a nominal heating capacity of not more than 14000W.
This document does not apply to mobile air conditioners, multi-split air conditioning (heat pump) units, ducted air conditioning (heat pump) units and kitchen air conditioners.

	7.
	Objective and rationale, including the nature of urgent problems where applicable: Quality requirements; Cost saving and productivity enhancement

	8.
	Relevant documents: 
-

	9.
	Proposed date of adoption: To be determined
Proposed date of entry into force: 12 months after approval

	10.
	Provision of comments
Final date for comments: 26 July 2026
[X] 60 days from notification 
Contact details of agency or authority designated to handle comments regarding the notification: 
WTO/TBT National Notification and Enquiry Center of the People's Republic of China
Tel：+86 10 57954633/ 57954627
E_mail: tbt@customs.gov.cn
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