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NOTIFICATION
The following notification is being circulated in accordance with Article 10.6

	1.
	Notifying Member: CHINA
If applicable, name of local government involved (Articles 3.2 and 7.2): 

	2.
	Agency responsible: 
State Administration for Market Regulation (Standardization Administration of the P.R.C.)

	3.
	Notified under Article 2.9.2 [X], 2.10.1 [ ], 5.6.2 [ ], 5.7.1 [ ], 3.2 [ ], 7.2 [ ], Other: 

	4.
	Products covered (HS codes or national tariff lines. ICS numbers may be provided in addition, where applicable): Patient monitor, brain and regional tissue oxygen saturation sensor, brain and regional tissue oxygen saturation monitor, brain and regional blood oxygen detector, brain and regional blood oxygen sensor, non-invasive cerebral oxygen monitoring device (HS code(s): 901819); (ICS code(s): 11.040.10)

	5.
	Details of notified document(s) (title, number of pages and languages, means of access): National Standard of the P.R.C., Medical electrical equipment — Part 2-85: Particular requirements for the basic safety and essential performance of cerebral tissue oximeter equipment; (68 page(s), in Chinese)
Link to notified document(s) and/or contact details for agency or authority which can provide copies upon request: 
https://members.wto.org/crnattachments/2026/TBT/CHN/26_03579_00_x.pdf

	6.
	Description of content: This document applies to basic safety and essential performance requirements of cerebral tissue oximeter equipment.
This document applies to cerebral tissue oximeter equipment for human application, including cerebral tissue oximeter monitors, cerebral tissue oximeter probes and probe cable extenders.
This document also applies to medical electrical (ME) cerebral tissue oximeter equipment intended to compensate or alleviate diseases and injuries, as well as such equipment intended for home care and emergency medical service environments, such as ambulances and air medical transport. Supplementary standards may be applicable to such equipment used in these environments.

	7.
	Objective and rationale, including the nature of urgent problems where applicable: Protection of human health or safety

	8.
	Relevant documents: 
-

	9.
	Proposed date of adoption: To be determined
Proposed date of entry into force: 36 months after approval

	10.
	Provision of comments
Final date for comments: 8 September 2026
[X] 60 days from notification 
Contact details of agency or authority designated to handle comments regarding the notification: 
WTO/TBT National Notification and Enquiry Center of the People's Republic of China
Tel：+86 10 57954633/ 57954642
E_mail: tbt@customs.gov.cn
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