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NOTIFICATION
The following notification is being circulated in accordance with Article 10.6

	1.
	Notifying Member: CHINA
If applicable, name of local government involved (Articles 3.2 and 7.2): 

	2.
	Agency responsible: 
State Administration for Market Regulation (Standardization Administration of the P.R.C.)

	3.
	Notified under Article 2.9.2 [X], 2.10.1 [ ], 5.6.2 [ ], 5.7.1 [ ], 3.2 [ ], 7.2 [ ], Other: 

	4.
	Products covered (HS codes or national tariff lines. ICS numbers may be provided in addition, where applicable): Industrial boilers (HS code(s): 84021); (ICS code(s): 27.010)

	5.
	Details of notified document(s) (title, number of pages and languages, means of access): National Standards of the P.R.C., Minimum allowable values of energy efficiency and energy efficiency grades of industrial boilers; (8 page(s), in Chinese)
Link to notified document(s) and/or contact details for agency or authority which can provide copies upon request: 
https://members.wto.org/crnattachments/2026/TBT/CHN/26_03588_00_x.pdf

	6.
	Description of content: This document specifies the energy efficiency grades, minimum allowable values of energy efficiency and test methods for industrial boilers.
This document applies to stationary boilers that take various fuels, electricity or other energy sources as heat sources and adopt water or organic heat carriers as the heat transfer medium:
a) Pressure steam boilers with a designed normal water level volume greater than or equal to 30L and a rated steam pressure ≥ 0.1MPa (gauge);
b) Pressure hot water boilers with an outlet water pressure ≥ 0.1MPa (gauge) and a rated thermal power ≥ 0.1MW;
c) Organic heat carrier boilers with a rated thermal power ≥ 0.1MW.

	7.
	Objective and rationale, including the nature of urgent problems where applicable: Protection of the environment; Quality requirements

	8.
	Relevant documents: 
-

	9.
	Proposed date of adoption: To be determined
Proposed date of entry into force: To be determined

	10.
	Provision of comments
Final date for comments: 11 September 2026
[X] 60 days from notification 
Contact details of agency or authority designated to handle comments regarding the notification: 
WTO/TBT National Notification and Enquiry Center of the People's Republic of China
Tel：+86 10 57954633/ 57954642
E_mail: tbt@customs.gov.cn
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