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NOTIFICATION
The following notification is being circulated in accordance with Article 10.6

	1.
	Notifying Member: CHINA
If applicable, name of local government involved (Articles 3.2 and 7.2): 

	2.
	Agency responsible: 
State Administration for Market Regulation (Standardization Administration of the P.R.C.)

	3.
	Notified under Article 2.9.2 [X], 2.10.1 [ ], 5.6.2 [ ], 5.7.1 [ ], 3.2 [ ], 7.2 [ ], Other: 

	4.
	Products covered (HS codes or national tariff lines. ICS numbers may be provided in addition, where applicable): Comfortable unitary air conditioners, Air conditioning unit for data center and communication room, Unitary air conditioners for communication base station (HS code(s): 8415); (ICS code(s): 27.010)

	5.
	Details of notified document(s) (title, number of pages and languages, means of access): National Standard of the P.R.C., Minimum allowable values of energy efficiency and energy efficiency grades for unitary air conditioners; (7 page(s), in Chinese)
Link to notified document(s) and/or contact details for agency or authority which can provide copies upon request: 
https://members.wto.org/crnattachments/2026/TBT/CHN/26_03591_00_x.pdf

	6.
	Description of content: This document specifies energy efficiency grades, minimum energy efficiency values and test methods for unitary air conditioners.
This document applies to comfortable unitary air conditioners driven by motors compressors with an indoor static pressure of 0Pa (gauge pressure), air conditioning unit for data centers and communication rooms, and unitary air conditioners for communication base stations.
This document does not apply to multi-split air conditioning (heat pump) units, roof-mounted air conditioning units and ducted air conditioning（heat pump）.

	7.
	Objective and rationale, including the nature of urgent problems where applicable: Cost saving and productivity enhancement

	8.
	Relevant documents: 
-

	9.
	Proposed date of adoption: To be determined
Proposed date of entry into force: 12 months after approval

	10.
	Provision of comments
Final date for comments: 11 September 2026
[X] 60 days from notification 
Contact details of agency or authority designated to handle comments regarding the notification: 
WTO/TBT National Notification and Enquiry Center of the People's Republic of China
Tel：+86 10 57954633/ 57954642
E_mail: tbt@customs.gov.cn
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