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NOTIFICATION
The following notification is being circulated in accordance with Article 10.6

	1.
	Notifying Member: THAILAND
If applicable, name of local government involved (Articles 3.2 and 7.2): 

	2.
	Agency responsible: 
Thai Industrial Standards Institute (TISI), Ministry of Industry

	3.
	Notified under Article 2.9.2 [X], 2.10.1 [ ], 5.6.2 [ ], 5.7.1 [ ], 3.2 [ ], 7.2 [ ], Other: 

	4.
	Products covered (HS codes or national tariff lines. ICS numbers may be provided in addition, where applicable): Inverters for photovoltaic systems (ICS 27.160)

	5.
	Details of notified document(s) (title, number of pages and languages, means of access): Draft Ministerial Regulation Prescribing Industrial Product for Inverters for Photovoltaic Systems to Conform to the Standard B.E. .…; (8 page(s), in Thai)
Link to notified document(s) and/or contact details for agency or authority which can provide copies upon request: 
https://members.wto.org/crnattachments/2026/TBT/THA/26_03893_00_x.pdf
WTO/TBT Enquiry Point and Notification Authority
Thai Industrial Standards Institute (TISI), Ministry of Industry
Tel: (662)430 6831 ext. 2130
Fax: (662)354 3041
E-mail: thaitbt@tisi.mail.go.th
Website: https://www.tisi.go.th

	6.
	Description of content: The draft Ministerial Regulation mandates inverters for photovoltaic systems to conform to the Thai Industrial Standard TIS 2603 Part 2–2556 (2013) Safety of Power Converters for Use in Photovoltaic Power Systems – Part 2: Particular Requirements for Inverters.

	7.
	Objective and rationale, including the nature of urgent problems where applicable: Protection of human health or safety

	8.
	Relevant documents: 
IEC 62109-2 Edition 1.0 (2011-06) Safety of power converters for use in photovoltaic power systems – Part 2: Practical requirements for inverters

	9.
	Proposed date of adoption: To be determined
Proposed date of entry into force: From the day following the date of its publication in the Government Gazette

	10.
	Provision of comments
Final date for comments: 26 August 2026 (30 days from notification)
[ ] 60 days from notification 
Contact details of agency or authority designated to handle comments regarding the notification: 
WTO/TBT Enquiry Point and Notification Authority
Thai Industrial Standards Institute (TISI), Ministry of Industry
Tel: (662)430 6831 ext. 2130
Fax: (662)354 3041
E-mail: thaitbt@tisi.mail.go.th
Website: https://www.tisi.go.th
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