# NOTIFICATION

The following notification is being circulated in accordance with Article 10.6

| 1. | Notifying Member: CHINA If applicable, name of local government involved (Articles 3.2 and 7.2): |
| --- | --- |
| 2. | Agency responsible: State Administration for Market Regulation (Standardization Administration of the P.R.C.) |
| 3. | Notified under Article 2.9.2 [X], 2.10.1 [ ], 5.6.2 [ ], 5.7.1 [ ], 3.2 [ ], 7.2 [ ], Other: |
| 4. | Products covered (HS codes or national tariff lines. ICS numbers may be provided in addition, where applicable): Domestic gas instantaneous water heater; gas-fired heating and hot water combi-boiler (HS code(s): 840310; 841911); (ICS code(s): 27.010) |
| 5. | Details of notified document(s) (title, number of pages and languages, means of access): National Standard of the P.R.C., Minimum allowable values of energy efficiency and energy efficiency grades for domestic gas instantaneous water heaters and gas fired heating and hot water combi-boilers; (18 page(s), in Chinese) Link to notified document(s) and/or contact details for agency or authority which can provide copies upon request: https://members.wto.org/crnattachments/2026/TBT/CHN/26_04304_00_x.pdf |
| 6. | Description of content: This document specifies the energy efficiency technical requirements and test methods for domestic gas instantaneous water heaters (including condensing domestic gas instantaneous water heaters) and gas-fired heating and hot water combi-boilers (including condensing gas-fired heating and bathing dual-purpose boilers), as well as the calculation methods for annual energy consumption and annual CO₂emission. This document applies to products primarily using gas as the main energy source: a) water heaters with a rated thermal load not exceeding 70 kW, using atmospheric or fully premixed combustion; b) boilers with a rated thermal load of less than 100 kW, a maximum working water pressure not exceeding 0.6 MPa, a working water temperature not exceeding 95℃, and using atmospheric or fully premixed combustion. This document does not apply to gas storage water heaters. |
| 7. | Objective and rationale, including the nature of urgent problems where applicable: Consumer information, labelling; Protection of the environment |
| 8. | Relevant documents: - |
| 9. | Proposed date of adoption: To be determined Proposed date of entry into force: 24 months after approval |
| 10. | Provision of comments Final date for comments: 18 October 2026 [X] 60 days from notification Contact details of agency or authority designated to handle comments regarding the notification: WTO/TBT National Notification and Enquiry Center of the People's Republic of China Tel：+86 10 57954633/ 57954642 E_mail: tbt@customs.gov.cn |