	[bookmark: bmkRestricted]
	

	[image: ]
	

	
	[bookmark: bmkSymbols]G/TBT/N/CHN/2333

	
	[bookmark: spsDateDistribution][bookmark: bmkDate]19 August 2026

	[bookmark: bmkSerial](26-5799)
	[bookmark: bmkTotPages]Page: 1/2

	[bookmark: bmkCommittee]Committee on Technical Barriers to Trade
	[bookmark: bmkLanguage][bookmark: spsOriginalLanguage]Original: English



tbtSymbol

- 1 -

[bookmark: spsSymbolHeader]G/TBT/N/CHN/2333

- 2 -

NOTIFICATION
The following notification is being circulated in accordance with Article 10.6

	1.
	Notifying Member: CHINA
If applicable, name of local government involved (Articles 3.2 and 7.2): 

	2.
	Agency responsible: 
State Administration for Market Regulation (Standardization Administration of the P.R.C.)

	3.
	Notified under Article 2.9.2 [X], 2.10.1 [ ], 5.6.2 [ ], 5.7.1 [ ], 3.2 [ ], 7.2 [ ], Other: 

	4.
	Products covered (HS codes or national tariff lines. ICS numbers may be provided in addition, where applicable): Domestic gas instantaneous water heater; gas-fired heating and hot water combi-boiler (HS code(s): 840310; 841911); (ICS code(s): 27.010)

	5.
	Details of notified document(s) (title, number of pages and languages, means of access): National Standard of the P.R.C., Minimum allowable values of energy efficiency and energy efficiency grades for domestic gas instantaneous water heaters and gas fired heating and hot water combi-boilers; (18 page(s), in Chinese)
Link to notified document(s) and/or contact details for agency or authority which can provide copies upon request: 
https://members.wto.org/crnattachments/2026/TBT/CHN/26_04304_00_x.pdf

	6.
	Description of content: This document specifies the energy efficiency technical requirements and test methods for domestic gas instantaneous water heaters (including condensing domestic gas instantaneous water heaters) and gas-fired heating and hot water combi-boilers (including condensing gas-fired heating and bathing dual-purpose boilers), as well as the calculation methods for annual energy consumption and annual CO₂emission.
This document applies to products primarily using gas as the main energy source:
a) water heaters with a rated thermal load not exceeding 70 kW, using atmospheric or fully premixed combustion;
b) boilers with a rated thermal load of less than 100 kW, a maximum working water pressure not exceeding 0.6 MPa, a working water temperature not exceeding 95℃, and using atmospheric or fully premixed combustion.
This document does not apply to gas storage water heaters.

	7.
	Objective and rationale, including the nature of urgent problems where applicable: Consumer information, labelling; Protection of the environment

	8.
	Relevant documents: 
-

	9.
	Proposed date of adoption: To be determined
Proposed date of entry into force: 24 months after approval

	10.
	Provision of comments
Final date for comments: 18 October 2026
[X] 60 days from notification 
Contact details of agency or authority designated to handle comments regarding the notification: 
WTO/TBT National Notification and Enquiry Center of the People's Republic of China
Tel：+86 10 57954633/ 57954642
E_mail: tbt@customs.gov.cn
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