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NOTIFICATION
The following notification is being circulated in accordance with Article 10.6

	1.
	Notifying Member: CHINA
If applicable, name of local government involved (Articles 3.2 and 7.2): 

	2.
	Agency responsible: 
State Administration for Market Regulation (Standardization Administration of the P.R.C.)

	3.
	Notified under Article 2.9.2 [X], 2.10.1 [ ], 5.6.2 [ ], 5.7.1 [ ], 3.2 [ ], 7.2 [ ], Other: 

	4.
	Products covered (HS codes or national tariff lines. ICS numbers may be provided in addition, where applicable): Medical or laboratory refrigerators, medical or laboratory combined refrigerator-freezers, medical or laboratory low-temperature storage freezers (HS code(s): 841810; 841830; 841840; 841850); (ICS code(s): 27.010)

	5.
	Details of notified document(s) (title, number of pages and languages, means of access): National Standard of the P.R.C., Minimum allowable values of energy efficiency and energy efficiency grades for refrigerating appliances for medical, laboratory and similar purposes; (15 page(s), in Chinese)
Link to notified document(s) and/or contact details for agency or authority which can provide copies upon request: 
https://members.wto.org/crnattachments/2026/TBT/CHN/26_04316_00_x.pdf

	6.
	Description of content: This document specifies the product classification, benchmark power consumption, energy efficiency grades, energy efficiency limit values and test methods of refrigerating appliances for medical, laboratory and similar purposes.
This document applies to refrigerating appliances for medical, laboratory and similar purposes driven by hermetic motor compressors for specimen storage, with a volume not exceeding 1800 L, including medical or laboratory refrigerators, combined refrigerator-freezers and low-temperature storage freezers.
This document does not apply to household refrigerators, pharmaceutical cool boxes, transit containers, cold warehouses and incubators equipped with refrigeration function.

	7.
	Objective and rationale, including the nature of urgent problems where applicable: Protection of the environment

	8.
	Relevant documents: 
-

	9.
	Proposed date of adoption: To be determined
Proposed date of entry into force: 12 months after approved

	10.
	Provision of comments
Final date for comments: 18 October 2026
[X] 60 days from notification 
Contact details of agency or authority designated to handle comments regarding the notification: 
WTO/TBT National Notification and Enquiry Center of the People's Republic of China
Tel：+86 10 57954633/ 57954642
E_mail: tbt@customs.gov.cn
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