# NOTIFICATION

The following notification is being circulated in accordance with Article 10.6

| 1. | Notifying Member: CZECH REPUBLIC If applicable, name of local government involved (Articles 3.2 and 7.2): |
| --- | --- |
| 2. | Agency responsible: Czech Metrology Institute Legal Metrology Department Okružní 31, 638 00 Brno Czech Republic Telephone: +420 545 555 414 Email address: legmet@cmi.gov.cz |
| 3. | Notified under Article 2.9.2 [X], 2.10.1 [ ], 5.6.2 [ ], 5.7.1 [ ], 3.2 [ ], 7.2 [ ], Other: |
| 4. | Products covered (HS codes or national tariff lines. ICS numbers may be provided in addition, where applicable): Measure of a general nature laying down metrological and technical requirements for specified measuring instruments, including test methods for type approval, verification and re-testing Metrology and measurement. Physical phenomena (ICS code: 17) Measurement of volume, mass, density and viscosity (ICS code: 17.060) |
| 5. | Details of notified document(s) (title, number of pages and languages, means of access): Measure of a general nature number: 0111-OOP-C104-26 – metrological and technical requirements for specified measuring instruments, including test methods for type approval, verification and re-testing: 'laboratory oscillation-type density meters with sample temperature control or automatic temperature correction' ; (17 page(s), in English), (16 page(s), in Czech) Link to notified document(s) and/or contact details for agency or authority which can provide copies upon request: https://members.wto.org/crnattachments/2026/TBT/CZE/26_04377_00_e.pdf https://members.wto.org/crnattachments/2026/TBT/CZE/26_04377_00_x.pdf https://technical-regulation-information-system.ec.europa.eu/en/notification/28408 https://technical-regulation-information-system.ec.europa.eu/cs/notification/28408 |
| 6. | Description of content: The regulation lays down the metrological and technical requirements for these specified measuring instruments, including the test methods for type approval and verification of specified measuring instruments. Laboratory oscillation-type density meters with sample temperature control or automatic temperature correction may be placed on the market and put into service in the Czech Republic as specified measuring instruments pursuant to Act No 505/1990 on metrology, as amended. Pursuant to this Act, specified measuring instruments are instruments that are included in the list of the types of specified measuring instruments (Decree No 345/2002) and, at the same time, intended (by the manufacturer/importer) for measurements relevant to the protection of public interests in consumer protection, contractual relations, imposition of sanctions, fees, tariffs and taxes, health protection, environmental protection, occupational safety, or the protection of other public interests protected by special legislation. This is therefore a purpose similar to the one defining specified products – non-automatic measuring instruments and scales pursuant to Directives 2014/31/EU and 2014/32/EU. The requirements of this legislation do not apply to measuring instruments not placed on the market in the Czech Republic for the above purposes, defined by Act No 505/1990 on metrology, as amended. The purpose of this notified legislation is to lay down metrological and technical requirements for these specified measuring instruments. This legislation also stipulates tests for type approval and verification of specified measuring instruments of this type. This measure of a general nature has been drawn up with a view to achieving the specified objective, while taking into account, as far as possible, international standards and other generally accepted principles and norms. It is envisaged in Act No 505/1990 on metrology that the technical and metrological requirements for the types of specified measuring instruments listed in the Annex to Decree No 345/2002 specifying measuring instruments for mandatory verification and measuring instruments subject to type approval, including tests for the purposes of type approval, verification and re-testing of specified measuring instruments, will be set out in detail in a measure of a general nature. Given the intended purpose, the requirements laid down have been kept to a minimum. Moreover, from the manufacturer's perspective, they reflect the standard requirements set out in the relevant regulations for products. For manufacturers or users, the process of type approval or verification just means demonstrating that the relevant requirements have been met. In addition, the manufacturer is not necessarily required to carry out all the tests during type approval if they have already been carried out. A broad principle of recognition applies in cases of compatibility with the requirements. |
| 7. | Objective and rationale, including the nature of urgent problems where applicable: Prevention of deceptive practices and consumer protection |
| 8. | Relevant documents: References to the basic texts: Act No 505/1990 on metrology, as amended Decree No 345/2002 stipulating measuring instruments for mandatory verification and measuring instruments subject to type approval, as amended § 171 et seq. of Act No 500/2004, the Code of Administrative Procedure, as amended |
| 9. | Proposed date of adoption: 9 November 2026 Proposed date of entry into force: 14 November 2026 |
| 10. | Provision of comments Final date for comments: 9 October 2026 [ ] 60 days from notification Contact details of agency or authority designated to handle comments regarding the notification: Czech Office for Standards, Metrology and Testing WTO/TBT Enquiry Point Biskupský dvůr 1148/5 110 00 Prague 1 - Czech Republic Telephone: (+420) 221 802 194 Email address: wto.tbt@unmz.gov.cz Website: https://unmz.gov.cz/en/mezinarodni-vztahy/wto-tbt/informacni-stredisko-wto-tbt/ |