# NOTIFICATION

The following notification is being circulated in accordance with Article 10.6

| 1. | Notifying Member: CZECH REPUBLIC If applicable, name of local government involved (Articles 3.2 and 7.2): |
| --- | --- |
| 2. | Agency responsible: Czech Metrology Institute Legal Metrology Department Okružní 31, 638 00 Brno Czech Republic Telephone: +420 545 555 414 Email address: legmet@cmi.gov.cz |
| 3. | Notified under Article 2.9.2 [X], 2.10.1 [ ], 5.6.2 [ ], 5.7.1 [ ], 3.2 [ ], 7.2 [ ], Other: |
| 4. | Products covered (HS codes or national tariff lines. ICS numbers may be provided in addition, where applicable): 'temperature measuring instruments used on stationary tanks for conversion to reference conditions – temperature sensors and temperature sensors with a transducer' Metrology and measurement. Physical phenomena (ICS code: 17); (ICS code 17.200.20 - temperature measuring instruments) |
| 5. | Details of notified document(s) (title, number of pages and languages, means of access): Measure of a general nature number: 0111-OOP-C105-26 - metrological and technical requirements, test methods for type approval, verification and checking: 'temperature measuring instruments used on stationary tanks for conversion to reference conditions – temperature sensors and temperature sensors with a transducer' ; (16 page(s), in English), (16 page(s), in Czech) Link to notified document(s) and/or contact details for agency or authority which can provide copies upon request: https://members.wto.org/crnattachments/2026/TBT/CZE/26_04749_00_e.pdf https://members.wto.org/crnattachments/2026/TBT/CZE/26_04749_00_x.pdf https://technical-regulation-information-system.ec.europa.eu/en/notification/28407 https://technical-regulation-information-system.ec.europa.eu/cs/notification/28407 |
| 6. | Description of content: The regulation lays down the metrological and technical requirements for these specified measuring instruments, including the test methods for type approval and verification of specified measuring instruments. Temperature measuring instruments used on stationary tanks for conversion to reference conditions – temperature sensors and temperature sensors with a transducer may be placed on the market and put into service in the Czech Republic as specified measuring instruments pursuant to Act No 505/1990 on metrology, as amended. Pursuant to this Act, specified measuring instruments are instruments that are included in the list of the types of specified measuring instruments (Decree No 345/2002) and, at the same time, intended (by the manufacturer/importer) for measurements of relevance to the protection of public interests in areas of consumer protection, contractual relations, imposition of sanctions, fees, tariffs and taxes, health protection, environmental protection, occupational safety, or the protection of other public interests protected by special legislation. This is therefore a purpose similar to the one defining specified products – non-automatic measuring instruments and scales pursuant to Directives 2014/31/EU and 2014/32/EU. The requirements of this legislation do not apply to measuring instruments not placed on the market in the Czech Republic for the above purposes, defined by Act No 505/1990 on metrology, as amended. The purpose of this notified legislation is to lay down metrological and technical requirements for these specified measuring instruments. This legislation also stipulates tests for type approval and verification of specified measuring instruments of this type. This measure of a general nature has been drawn up with a view to achieving the specified objective, whilst taking the greatest possible account of international standards and other generally accepted principles and norms. Act No 505/1990 on metrology assumes that, for the types of specified measuring instruments listed in the Annex to Decree No 345/2002 laying down the measuring instruments subject to mandatory verification and those subject to type approval, the technical and metrological requirements, including tests for the purposes of type approval, verification and checking of specified measuring instruments, shall be specified in a measure of a general nature. Given the intended purpose, the stipulated requirements are designed to be as minimal as possible. Moreover, from the manufacturer's point of view, they replicate the usual requirements of normative regulations for products. For manufacturers or users, the type-approval or verification process simply involves demonstrating that the relevant requirements have been met. In addition, the manufacturer does not necessarily have to undergo all the tests at the time of type-approval, if they have already been carried out. The general principle of recognition applies where the requirements are met. |
| 7. | Objective and rationale, including the nature of urgent problems where applicable: Prevention of deceptive practices and consumer protection |
| 8. | Relevant documents: References to the basic texts: Act No 505/1990 on metrology, as amended Decree No 345/2002 stipulating measuring instruments for mandatory verification and measuring instruments subject to type approval, as amended § 171 et seq. of Act No 500/2004, the Administrative Code, as amended |
| 9. | Proposed date of adoption: 7 November 2026 Proposed date of entry into force: 22 November 2026 |
| 10. | Provision of comments Final date for comments: 7 October 2026 [ ] 60 days from notification Contact details of agency or authority designated to handle comments regarding the notification: Czech Office for Standards, Metrology and Testing WTO/TBT Enquiry Point Biskupský dvůr 1148/5 110 00 Prague 1 - Czech Republic Telephone: (+420) 221 802 194 Email address: wto.tbt@unmz.gov.cz Website: https://unmz.gov.cz/en/mezinarodni-vztahy/wto-tbt/informacni-stredisko-wto-tbt/ |