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NOTIFICATION
The following notification is being circulated in accordance with Article 10.6

	1.
	Notifying Member: VIET NAM
If applicable, name of local government involved (Articles 3.2 and 7.2): 

	2.
	Agency responsible: 
Department of Fire Prevention, Firefighting and Rescue Police
Ministry of Public Security
01 Vu Huu Street, Dai Mo Ward, Hanoi, Viet Nam
Ms. Hoang Thi Thao
Phone number: (+84) 912.370.467
email: cuccspccc@gmail.com

	3.
	Notified under Article 2.9.2 [X], 2.10.1 [ ], 5.6.2 [X], 5.7.1 [ ], 3.2 [ ], 7.2 [ ], Other: 

	4.
	Products covered (HS codes or national tariff lines. ICS numbers may be provided in addition, where applicable): Fire prevention, firefighting and rescue equipment, including:
Fire pumps (HS 8413.19.10; 8413.19.20)
Common firefighting equipment: delivery hoses, portable/wheeled fire extinguishers, self-activating extinguishers (HS 5909.00.10; 8424.10.90)
Fire extinguishing media: dry powder, CO₂, foam concentrate, clean/gaseous agents (HS 3813.00.00)
Fire detection and alarm system equipment: control panels, detectors, manual call points, video detectors (HS 8537.10.99; 8531.10.20; 8531.10.30; 8531.90.90)
Gas, aerosol and powder extinguishing system equipment: cylinders, valves, nozzles, aerosol extinguishers (HS 8424.10.90; 8424.90.99)
Water-based, water-mist and foam extinguishing system equipment: sprinklers, alarm valves, deluge valves, fire hydrants (HS 8424.90.99; 8481.40.90)
Emergency exit signs and emergency lighting (HS 9405.11.99; 9405.19.92; 9405.19.99; 9405.61.90; 9405.69.90)

	5.
	Details of notified document(s) (title, number of pages and languages, means of access): Draft QCVN 03:2026/BCA – National technical regulation on Fire protection and Rescue equipment; (115 page(s), in Vietnamese)
Link to notified document(s) and/or contact details for agency or authority which can provide copies upon request: 
https://members.wto.org/crnattachments/2026/TBT/VNM/26_04993_00_x.pdf
Department of Fire Prevention, Firefighting and Rescue Police
Ministry of Public Security
01 Vu Huu Street, Dai Mo Ward, Hanoi, Viet Nam
Ms. Hoang Thi Thao
Phone number: (+84) 912.370.467
email: cuccspccc@gmail.com

	6.
	Description of content: This draft national technical regulation specifies mandatory technical requirements, test methods and sample specifications for fire prevention, firefighting and rescue equipment.
The draft applies to equipment manufactured, assembled, imported, traded and used in Viet Nam (Section 1.1) — unlike the previously notified draft (G/TBT/N/VNM/400), imported equipment is now within the mandatory scope of this regulation.
The draft sets out a conformity assessment mechanism — certification of conformity, declaration of conformity, and post-market surveillance — for equipment classified as medium- or high-risk under the list issued by the Ministry of Public Security, replacing the circulation permit mechanism under the previously notified draft. It further sets out requirements on sampling, testing, labelling and traceability.
This draft applies to: (1) organizations and individuals manufacturing, assembling, importing, trading in and using the equipment; (2) conformity assessment bodies; (3) competent state management authorities.
The first draft of QCVN 03:2026/BCA was notified under G/TBT/N/VNM/400 (23 April 2026). This notification concerns the second draft, which has been substantially revised — reducing the equipment covered from 85 types/865 technical criteria to 57 types/483 technical criteria, and replacing the circulation-permit management mechanism with conformity assessment, information declaration and post-market surveillance.

	7.
	Objective and rationale, including the nature of urgent problems where applicable: Protection of human health or safety

	8.
	Relevant documents: 
- Draft Circular promulgating QCVN 03:2026/BCA
- Law on Fire Prevention, Firefighting and Rescue No. 55/2024/QH15
- Law on Product and Goods Quality No. 78/2025/QH15
- Law on Standards and Technical Regulations (amended 2025)
- Circular No. 14/2026/TT-BKHCN dated 9 April 2026 (declaration/certification of conformity, methods of conformity assessment)
- Decree No. 37/2026/NĐ-CP dated 23 January 2026 (labelling requirements);
- Circular No. 125/2026/TT-BCA dated 30 June 2026 (On issuance of lists of medium-risk products and goods under the management of the Ministry of Public Security);
- Decree No. 347/2026/ND-CP dated 9 September 2026 (Amending certain articles for implementation of the Law on Fire Prevention, Firefighting and Rescue, among others amendment)

	9.
	Proposed date of adoption: To be determined; 2027
Proposed date of entry into force: To be determined; 2027

	10.
	Provision of comments
Final date for comments: 23 November 2026
[X] 60 days from notification 
Contact details of agency or authority designated to handle comments regarding the notification: 
International Cooperation and TBT Department
Commission for the Standards, Metrology and Quality of Viet Nam
Ministry of Science and Technology
Tel: +(84 24) 37 91 21 45
Email: tbtvn@mst.gov.vn
Website: https://tcvn.gov.vn/
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