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NOTIFICATION
The following notification is being circulated in accordance with Article 10.6

	1.
	Notifying Member: THE STATE OF KUWAIT
If applicable, name of local government involved (Articles 3.2 and 7.2): 

	2.
	Agency responsible: 
Public Authority for Industry
Standard and Metrology Department (KOWSMD)

	3.
	Notified under Article 2.9.2 [X], 2.10.1 [ ], 5.6.2 [ ], 5.7.1 [ ], 3.2 [ ], 7.2 [ ], Other: 

	4.
	Products covered (HS codes or national tariff lines. ICS numbers may be provided in addition, where applicable): All products fall under scope of " Luminaires – Part 1: General requirements and tests " (ICS 29.140.40) Luminaires

	5.
	Details of notified document(s) (title, number of pages and languages, means of access): Luminaires – Part 1: General requirements and tests; (261 page(s), in English; 261 page(s), in French)
Link to notified document(s) and/or contact details for agency or authority which can provide copies upon request: 
https://members.wto.org/crnattachments/2026/TBT/KWT/26_05232_00_e.pdf

	6.
	Description of content: This part of IEC 60598 specifies general safety requirements for luminaires, incorporating electric light sources for operation from supply voltages up to 1 000 V.
Requirements for semi-luminaires are included in this document.
For explosion proof luminaires, as covered by the IEC 60079 series, the requirements of the IEC 60598 series (selecting the appropriate parts of the IEC 60598-2 series) are applied in addition to the requirements of the IEC 60079 series. In the event of any conflict between the
IEC 60598 series and the IEC 60079 series, the requirements of the IEC 60079 series take
priority.

	7.
	Objective and rationale, including the nature of urgent problems where applicable: Protection of human health or safety

	8.
	Relevant documents: 
GSO IEC 60598-1:2025 (Luminaires - Part 1: General requirements and tests)

	9.
	Proposed date of adoption: 30 days from final date for comments.
Proposed date of entry into force: 1 year from adoption.

	10.
	Provision of comments
Final date for comments: 5 December 2026
[X] 60 days from notification 
Contact details of agency or authority designated to handle comments regarding the notification: 
Public Authority for Industry
P.O.Box 4690, Safat
13047 Kuwait
Tel: (+965) 25302622
E-mail: Enquiry_point@pai.gov.kw
Website: http://www.pai.gov.kw
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