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NOTIFICATION
The following notification is being circulated in accordance with Article 10.6

	1.
	Notifying Member: VIET NAM
If applicable, name of local government involved (Articles 3.2 and 7.2): 

	2.
	Agency responsible: 
Ministry of Industry and Trade
Agency for Domestic Market Surveillance and Development
91 Dinh Tien Hoang, Hanoi, Viet Nam
Tel.: 84 (24) 38.255.868
Email: thinhlh@moit.gov.vn
Website: https://moit.gov.vn/

	3.
	Notified under Article 2.9.2 [X], 2.10.1 [ ], 5.6.2 [ ], 5.7.1 [ ], 3.2 [ ], 7.2 [ ], Other: 

	4.
	Products covered (HS codes or national tariff lines. ICS numbers may be provided in addition, where applicable): Petroleum retail service stations and equipment, systems and facilities used for the storage and dispensing of petroleum products, including underground petroleum storage tanks, fuel piping systems, fuel dispensers, vapor recovery systems, electrical equipment, fire prevention and firefighting equipment, and related auxiliary facilities.
This draft applies to petroleum retail service stations serving road and waterway transport, including fixed and floating service stations.

	5.
	Details of notified document(s) (title, number of pages and languages, means of access): Draft National Technical Regulation on Petroleum Retail Service Stations; (33 page(s), in Vietnamese)
Link to notified document(s) and/or contact details for agency or authority which can provide copies upon request: 
https://members.wto.org/crnattachments/2026/TBT/VNM/26_05294_00_e.pdf
https://moit.gov.vn/du-thao-van-ban/to-trinh-ve-du-thao-thong-tu-thay-the-thong-tu-so-15-2020-tt-bct-ngay-30-6-2020-cua-bo-truong-bo-cong-thuong-ban-hanh-ke.html
Ministry of Industry and Trade
Agency for Domestic Market Surveillance and Development
91 Dinh Tien Hoang, Hanoi, Viet Nam
Tel.: 84 (24) 38.255.868
Email: thinhlh@moit.gov.vn; lanht@moit.gov.vn
Website: https://moit.gov.vn/

	6.
	Description of content: The draft National Technical Regulation prescribes technical requirements for the design, construction, installation, modification, expansion, conversion, inspection, testing, commissioning and safe operation of petroleum retail service stations located on land and on water.
The draft covers, among others:
- Classification of petroleum retail service stations according to total storage capacity and levels of technical safety assurance;
- General requirements for the layout and operation of service stations;
- Hazardous area classification and requirements for equipment installed or used in hazardous areas;
- Storage tanks for petroleum products, including requirements for double-wall tanks or equivalent secondary containment for newly installed or replaced tanks under specified safety levels;
- Fuel piping systems, including underground and above-ground piping, leak detection and emergency shut-off arrangements;
- Fuel dispensers and fuel dispensing systems;
- Electrical installations, grounding, lightning protection and static electricity control;
- Fire prevention and firefighting equipment and emergency response arrangements;
- Water supply, drainage, wastewater and environmental protection requirements;
- Stage I and Stage II vapor recovery systems;
- Requirements for electric vehicle charging stations, battery swapping stations, battery energy storage systems and solar photovoltaic systems installed at petroleum retail service stations;
- Minimum safety distances between service station facilities and surrounding buildings and infrastructure;
- Inspection, testing, commissioning and documentation requirements;
- Responsibilities of regulatory authorities and petroleum traders operating service stations.
The draft applies to organizations and individuals involved in the construction, modification, operation and management of petroleum retail service stations, petroleum traders and other relevant organizations and individuals.

	7.
	Objective and rationale, including the nature of urgent problems where applicable: Protection of human health or safety; Protection of the environment

	8.
	Relevant documents: 
* Law on Standards and Technical Regulations dated 29 June 2006, as amended and supplemented;
* Law No. 70/2025/QH15 amending and supplementing a number of articles of the Law on Standards and Technical Regulations;
* Decree No. 22/2026/ND-CP dated 16 January 2026 of the Government detailing a number of articles and measures for the organization and implementation of the Law on Standards and Technical Regulations;
* Circular No. 15/2020/TT-BCT dated 30 June 2020 of the Minister of Industry and Trade promulgating QCVN 01:2020/BCT – National Technical Regulation on Design Requirements for Petrol Filling Stations;
* QCVN 10:2025/BCA – National Technical Regulation on provision and arrangement of fire prevention, firefighting, rescue and salvage equipment for buildings and structures;
* QCVN 06:2022/BXD and Amendment 1:2023 – National Technical Regulation on Fire Safety of Buildings and Structures;
* QCVN 07:2023/BXD – National Technical Regulation on Technical Infrastructure Works;
* QCVN 40:2025/BTNMT – National Technical Regulation on Industrial Wastewater;
* TCVN 5334:2007 – Electrical equipment for petroleum and petroleum product storage facilities – Safety requirements for design, installation and use;
* TCVN 6223:2017 – LPG shops – General safety requirements;
* TCVN 5684:2003 – Fire safety of petroleum and petroleum products facilities – General requirements;
* TCVN 5307:2009 – Petroleum and petroleum products storage facilities – Design requirements;
* TCVN 10888 (IEC 60079) – Explosive atmospheres;
* IEC 60079-10-1 – Explosive atmospheres – Classification of areas – Explosive gas atmospheres;
* IEC 60079-14 – Explosive atmospheres – Electrical installations design, selection and installation;
* EI 3076 – Design, construction, modification, maintenance and decommissioning of filling stations;
* NFPA 30A – Code for Motor Fuel Dispensing Facilities and Repair Garages;
* EN 12285-1; EN 14125; EN 13617 series; UL 58; UL 79; UL 87; UL 971; UL 1316; UL 1746; UL 2447.

	9.
	Proposed date of adoption: December 2026
Proposed date of entry into force: July 2027

	10.
	Provision of comments
Final date for comments: 7 December 2026
[X] 60 days from notification 
Contact details of agency or authority designated to handle comments regarding the notification: 
International Cooperation and TBT Department
Commission for the Standards, Metrology and Quality of Viet Nam
Ministry of Science and Technology
Tel: +(84 24) 37 91 21 45
Email: tbtvn@mst.gov.vn
Website: https://tcvn.gov.vn/
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